Example Configurator Specification

Terms:

Area:
An area is a physical area in a house and has one or multiple functional zone associated to it. For example, an area could be the kitchen, master bedroom or strong room.

Zone:
A zone is a functional item that is associated with one or more areas.
These zones types include, but are not limited to lighting, heating and cooling. In the future these would be expanded to be AV, security etc.

Parameters:
Zones have parameters. Parameters are bits of information, that describe the behaviour of a zone.

Items:
Zones can be associated with “Items” which can define physical items that are connected to devices in the house. For instance, these could include WebBricks, ASHPs etc.

Area Specifications:

area:
associations: …

Zone Specifications:

c_zone: (“cooling zone”)
fan: webbrick, [DO;DO]
valve: webbrick,

h_zone: (“heating zone”)
is it virtual: yes/no
if no:	get webbrick number
    get webbrick output
if yes: there is no real control, no information required
has schedule: yes/no
type of control: onOff/numeric
if numberic:
max temp: numeric
min temp: numeric
hot point: numeric
cool point: numeric
room controller:
if yes: get webbrick get AO

virtual	Webbrick	Output Number	OnOff	Schedule	Params
1	NA	NA	1	1	NA
0	102	3	0	1	10;25;18;22

hw_zone: (“hot water zone”)
is it virtual: yes/no
if no:	get webbrick number
    get webbrick output
if yes: there is no real control, no information required
has schedule: yes/no
type of control: onOff/numeric
if numberic:
max temp: numeric
min temp: numeric
hot point: numeric
cool point: numeric
see also: heatstore

l_zone: (“lighting zone”)
get webbrick
dimmed: yes/no
if dimmed: get AO
switched; yes/no
if switched:get DO
scenes:
get possible scenes (i.e. SC0, SC1, SC2...)
NOTE: if an l_zone does not have scenes, then it can only have a single DO or AO.

Example CSV:
Webbrick Node number, SC/DO/AO, number or numbers
104, SC, 1;2;3
102, AO, 1

Item Specifications:

heatstore:
inlets: [top,bottom]
setpoints: [name, sensor (i.e. top, middle, bottom), target temp, priority, inlet)
sensors: [top,middle,bottom]

webbrick:
IP: e.g. 10.100.100.104
Node / Identifier: 104
Name or descriptor: Web
Location: Master; Plant Room

heatsource_boiler:
webbrick:
output:
alarm (optional):

heatsource_ashp/gshp:
webbrick:
output1:
output2:
alarm (optional):

heatsource_solar:
pump number:
panel sensor:
store sensor:
alarm (optional):

pump:
webbrick:
output:

valve:
webbrick:
proportional: yes/no (bool)
if yes (proportional): get AO
else: get the 2 Dos
mixing: yes/no (bool)
number of temp sensors:

mixing set:
pump number:
valve number:
temperature sensor:

havc_logic:
#TODO:
lead/lag configuration?
Direct	heating?
Low loss header?