Technical Information sheet

Circulation Pump Installation Notes

   Installation Notes
- Connect the neutral (blue) of the circulation pump to one of the bussed neutral connections in the main enclosure
- Then connect the line of the circulation pump (usually brown) to the correct numbered terminal in the main enclosure
NOTE: Do NOT terminate the neutral of the circulation pump anywhere but the main enclosure to prevent mixing the neutrals!

Technical Notes

The circulation pumps are powered directly from the main enclosure.

Intelligent Building Automation

For Support contact:

01635 897 301

or email: info@webbricksystems.com
  Installation Diagram

  Intelligent Building Automation

For Support contact:

01635 897 301

or email: info@webbricksystems.com