Technical Information sheet

Pressure Sensor Installation Notes

   Installation Notes
- At the main enclosure terminate the Cat 5 cable using an RJ45 plug (according to the 586B convention) and patch into the appropriate socket in the patch panel
- All ports are labeled on the diagram in the main enclosure
- The custom cable at the pressure sensor end with RAST-2 connector has an IDC punch down for the Cat5 termination. Terminate all cores according to 586B convention.

Technical Notes

The pressure sensor is an analogue device that delivers a 0.5-3.5V output depending on input pressure.

On the WebBrick the pressure sensor is connected to an analogue input.

  Installation Diagram

  Intelligent Building Automation

For Support contact:

01635 897 301

or email: info@webbricksystems.com